Fixture needs for upgrade:

High School

1. 256 - 2 bulb 96" T8 ballasts and 28 watt T8 lamps for shop area's

2.
36 - 6 bulb 48" T8 fixtures and 28 watt T8 lamps for shop area's

3.
35 - 1 bulb 48" T8 ballasts and 28 watt T8 lamps for night lights.

4.
372 - 2 bulb 48" T8 ballasts and 28 watt T8 lamps for classroom, halls and Labs 

area's

5.
835 - 3 bulb 48" T8 ballasts and 28 watt T8 lamps for classroom, halls and Labs 
area's

6.
86  -  4 bulb 48" T8 ballasts and 28 watt T8 lamps for classroom, halls and Labs 
area's
7.
20 - 2 bulb 36" T8 ballasts and 25 watt T8 lamps for classroom, halls and Labs 
area's


Skill Center

1. 570 - 28 watt T8 lamps for classroom, halls and Labs area's

2. 78 - 6 bulb 48" T8 fixtures and 28 watt T8 lamps for shop area's

Total of 5390 T8 28 watt bulbs

