## Erie County Technical School

## Maintenance Department Report

## May 2014

- MANAGER ACTIVITIES

#### Accomplishments

#### Ongoing training with new M3 – Preventive Maintenance, Work Order System, Equipment maintenance, Building Electrical Systems, Building Water and Waste and Vent Systems, and Air Handling systems.

- Changed Waste Pick up Company to Waste Management

#### Communicated with the following Contractors/Vendors:

CW Beal Inc.

DeSantis

Hobart

Janitors Supply Co.

Johnson Controls

Lowe’s

Muller Locksmith

PRO Waste Services Inc.

Simplex

The Hite Co.

Verizon wireless

#### Meetings Attended

- Weekly Administrative meetings.

- Safety Meeting

- MAINTENANCE

#### Accomplishments & Ongoing Projects

- A main electric breaker overheated and burnt the B phase of the circuit. Parts are no longer available for this switch gear. We had to rearrange circuits in the switch to redistribute the load to keep everything powered and operating

- Performed preventive maintenance on selected HVAC system.

- Working on the storage room for Precision Machining.

- Performed mowing and trimming of grounds at the High School/ Skill Center.

- Completed routine Maintenance request at our High School and Skill Center.

- CUSTODIAL

### Accomplishments:  Routine cleaning of the facility.

- FACILITY USE REQUESTS

None

- SAFETY

  - Held fire drills for the Skill Center and High School.

  - The Safety Committee completed required annual training.