## Maintenance Department Report for July-August 2014

I.	MANAGER ACTIVITIES

#### Accomplishments – See “Items completed this summer” list

#### Communicated with the following Contractors/Vendors:

- A. Anthony and Sons	- Waste Management.

- T.C. Paving			- Janitors Supply Co.

- Yardmaster			- Graybar

- Verizon wireless		- Doritex

- Lowe’s			- Simplex

- EMSI			- Welders Supply

- Johnson Controls		- Siemans Controls

-Beals McMahon Painting

B.	Meetings Attended

- Weekly Administrative meetings.

- New Teacher Orientation

- Safety Committee Meeting.

II.	MAINTENANCE

### Accomplishments & Ongoing Projects

- Repairing of walls that were damaged and repainting classrooms and offices.

- Completed routine maintenance request at our High School and Skill Center.

- Repaired lockers in Labs

II.	CUSTODIAL

A.	 Accomplishments

- Routine cleaning of the facility.

- Completed the project cleaning of the school buildings.

- Changed Locker Combinations

III.	FACILITY USE REQUESTS

1. Pa. State Police Training – Skill Center

2. NWTC IU- Regional Choice initiative – Cafeteria

3. Boy Scouts – rear field and Construction Trades area

4. Thermal G club – Rear field and restrooms at rear of building

5. CCAC/EMMCO west EMT Training – Cafeteria and several classrooms

5. Angela’s Salon – Cosmetology Lab – 3 days

Items completed this summer

- Working with Chris Coughlin/ Beals McMahon Painting on the repairing of the paint bubbles and rust on the Exterior of the High School building.

- Completed the inspections/Cleaning of the Ansul Fire Systems and Fire Extinguishers.

- Completed inspection and repair of the Fire alarm System

- Completed crack filling/sealing and repairs to the parking lots.

- Had new tile floor installed in Cafeteria

- Refrigeration coils cleaned in Kitchen.

- Ice Machines ice system cleaned and sanitized.

- Fire extinguishers Tested and Repaired as needed

- Kitchen Ansul systems checked and serviced

- HVAC units at the High School and Skill Center filters changed, belts checked, changed if needed.

- Combinations changed on lockers and lockers repaired in hallways.

- Roofs and roof drains cleaned of debris.

- Repaired lockers in Auto Tech Lab, Auto Body Lab, Construction Trades Lab, Facilities Engineering Lab, Metal Fabrication Lab, Electrical Engineering Lab and Precision Machining Lab.

- Installed several new electrical circuits in the kitchen to allow for new equipment installation.

- Installed new Steamer, Filer System for Steamer, Double Oven, two under the counter Reach in Warmers, one under the counter reach in Cooler, one countertop Display Cooler

- Removed old equipment from kitchen to storage –one  range, one convection oven, two display coolers.

- Moved coffee maker to new cafeteria line end.

- Moved point of sale to opposite end of cafeteria line, installed new

- power-drop pole and new circuits.

- Repaired steam table for use on cafeteria end of serving line.

- Moved glass shelving unit to opposite end of cafeteria line.

- Fabricated and installed well covers for serving line

- Remove sections of duct system and moved diffuser in Auto Tech to allow lift clearance

- Elevator at skill center three year load test

- Repaired ceiling and installed new light fixtures in Facilities Maintenance locker room

- Removed windows and door and frames from between Tourism and Hospitality and Electronics Labs, filled in openings with steel studs and drywall

- Repaired ruts in lawn area

- Had lawn areas sprayed for weed control

- Moved screen in Electronics Lab