## Slide 1: Erie County Technical School
Dave Kramer, Kirby Slear, & Tim Roos
October 22, 2015
Facility & Energy Efficiency Improvement Program

## Slide 2: Purpose
Why did ECTS want to explore Performance Contracting?
* To determine if a more financially attractive opportunity exists through an ESCO partnership *

## Slide 3: Why Performance Contracting?
Performance Contracting Overview
  Alternative to traditional construction (Act 39 of 2010)
  Make needed facility improvements
  Turn-key solution
  Variety of financing options
Improved Construction Experience
  Drives energy and/or cost savings
  Budget certainty (no change orders)
  ESCO is single source of accountability
    Responsible for bidding process
    Handles design & installation
  Ensures quality installation (avoid issues of low-bid)
  Improved process leads to faster installation / completion

## Slide 4: Partnership
Engagement with Administration
  Working with administration several months
  Collaboration on ECTS needs, goals, and parameters
  Co-development of technical solution with Mr. VonVolkenburg
Partnership Approach
  Top Priorities:
    1) Help ECTS achieve greatest overall value on project
    2) Focus in areas of expertise & positive impact
Project Drivers
  Reduced financial impact
  Energy efficiency
  Ease of maintenance
  Student enrichment opportunities

## Slide 5: Accomplished to Date
Several Site Visits
  Engineering
  Construction
  Mechanical
  Electrical
  Controls
  Roofing
  Windows
  Plumbing
Utility & Energy
  Data gathering
  Energy baseline development
  Savings projections
Conceptual Design
  Engineering & design
  Scope of work
  Equipment counts
  Cost projections
  Installation plan
Comprehensive Solution

## Slide 6: Proposed Solution
Heating System
  Non-condensing boilers
  Cost savings outweighed limited energy savings
  Retains recent investment in flue system
Cooling System
  Packaged / self contained chiller
  Compressors track load demand
  Leads to equipment longevity & reduced maintenance

## Slide 7: Proposed Solution
Rooftop Units
Unit Ventilators
Business Office HVAC
Skill Center HVAC
  Multi-zone units no longer made
  Replace with VAV system
  Improves student comfort

## Slide 8: Proposed Solution
Controls System
  Individual zone control
  Improved comfort & efficiency
  Remote access capability
  Ease of maintenance
  Open system for service
Electrical System
  Focused on true needs
  Service & wiring appears to be in good condition
  Replacing main distribution panel, sub-panels, & transformers
  Significant cost savings

## Slide 9: Proposed Solution
Roofing System
  From 1993 renovation
  Generally good condition
  Minimal leaking or maintenance
  Insulation dry; core sample taken
  Urethane coating to extend life
  Significant cost savings
Windows
  Focused on true needs
  Replace remaining single pane windows
  Significant cost savings
Additional Offerings

## Slide 10: Utility Analysis

## Slide 11: Savings Analysis – Cash Flow

## Slide 12: Financial Cost Comparison

## Slide 13: Financial Cost Comparison

## Slide 14: Student Engagement & Enrichment
Student Enrichment Opportunities
  Job shadowing
  Career fair participation
  ‘Community Night’ support
  STEM offerings
  Earth Day activities
  ‘Green Team,’ recycling, environmental, engineering club support
  Community messaging
  Pre & post savings data
  Awareness signage & dashboards
  My Energy University curriculum
  Flexibility with additional ideas

## Slide 15: Key Takeaways
Original Purpose: Does a more financially beneficial opportunity exist?
Why Schneider Electric?
  Significant financial cost reduction ($2,500,000+)
  Provides budget certainty
  Collaborative design with ECTS
  Quality installation with post project support
  Fastest process to completion
  Extensive K-12 & Technology Center experience
  Eliminate risk from Investment Grade Audit

## Slide 16: What questions do you have?
Contact Info:
Dave Kramer
Schneider Electric
412-680-5743
david.kramer@schneider-electric.com